High Energy Event Reconstruction
Michinari Sakai

---
Known Geometry Problem with KLG4 for High Energy Analysis
High energy event produces many photons
→	photons “warp" from ID to OD
This is a problem when placing OD cuts to find fully contained events
Cause due to PMT geometry overlap in KLG4

---
Known Geometry Problem with KLG4 for High Energy Analysis
- Problem will be officially fixed in repository.
ID
OD
Hole in Steel Tank

---
PMT Prepulsing at High Energies
- PMT prepulsing occurs when many photons (>~100)
- Prepulsing is most probable when photons hit dynode along dynode axis.
- Prepulsing can give wrong bias to fitters that use PMT hit timing

---
PMT Prepulsing at High Energies
Sample muon #1
Run 5000
Event 25663
Recon Energy 2512.59 MeV
Badness 13.706
Impact Param 396.618 cm
Sample muon #2
Run 5000
Event 37715
Recon Energy 5031.46 MeV
Badness 16.4625
Impact Param 187.912 cm
Prepulsing?
Prepulsing?

---
PMT Prepulsing at High Energies
(1000 muons from RTQ run 5000~)
Early hit times (-30 ~ -50 ns of neighbor PMTs) when Fermat surface normal is parallel to PMT orientation.
Some early hit times when Fermat surface normal is perpendicular to PMT orientation

---
Agreement of
Michi Fitter / Muon Fitter
(1000 muons, RTQ run 5000~)
No cut
Prepulse cut

---
Zenith Angle of Both Fitters
(1000 muons, RTQ run 5000~)
This Fitter
Muon Fitter
Muon Fitter is fitting through-going muons well.
New fitter is less accurate for through going muons..

---
Center of time/charge vs.
muon fitter
(1000 muons, RTQ run 5000~)
Exponent modifier m,n for center of (timem) and (chargen) was varied in steps of 0.1
Vector pointing from center of time-1 to center of charge0.5 gave best result
Good agreement with µ fitter

---
Atmospheric Neutrino
Events from Tamae, Shimizu
Michi ν Fitter
KamLAND μ fitter

---
Atmospheric Neutrino

---
Atmospheric Neutrino

---
Atmospheric Neutrino

---
Reconstructed T2K Event Direction
Events from Ikeda Haruo

---
Reconstructed T2K Event Direction
Events from Ikeda Haruo

---
Summary
- Identified KLG4 geometry problem causing photon “warp” from ID to OD.
- Identified PMT prepulse problem → Solved by placing cut outside of mean ± 3σ of neighbor PMTs.
- Atmospheric/T2K event candidates direction fitted with μ fitter and new fitter.

---
To Do
Explore flavor discrimination using Deep Neural Network
Improve direction fitter by improving t_0 used in center of 1/Time.
Constrain Dark Matter mass (using WIMP Sim?).
Also look at specifically very high energy events (~50 GeV?) b/c backgrounds are lower at higher energies.

---
Backup Slides

---
Zenith Angle of Both Fitters
(muons from RTQ run 5000~5099)
This Fitter
Muon Fitter
Muon Fitter is fitting through-going muons well.
New fitter is less accurate for through going muons..